## Slide 1: Joint Capacity Planning and Operational Management for Sustainable Data Centers and Demand Response
Tan N. Le, Zhenhua Liu, Yuan Chen, and Cullen Bash
June 21, 2016
Notes: Introduce my self
I am a Phd Student from Stony Brook University, NY.
This joint work with my advisor Dr. Zhenhua Liu, and 2 co-authors from HP labs Yuan Chen and Cullen Bash

## Slide 2
Total Global Cloud Traffic Growth
www.cisco.com
Notes: The total data center traffic has been significantly increasing at 25% at year as the high demand from the Internet users.
Especially, could data centers are significantly increasing
Source: http://www.cisco.com/

## Slide 3
http://www.datacenterknowledge.com/
Notes: How much do data centers cost?

## Slide 4: Environmental threat from data centers
Carbon footprints of servers can vary by 10x, www.vertatique.com
E. Facts. Greenhouse gas emissions from a typical passenger vehicle, 2005.
=
450W
5.2 tons carbon a year
Chart: 
| Argentina | Czech Republic | US Data centers | Romania | Denmark
megatons carbon | 199 | 112 | 100 | 78 | 59
www.nrdc.org & wikipedia.org
Emissions in 2013
Notes: High light the emission

## Slide 5: Goal: Reduce data center costs and emissions with renewables
Approach: Joint Optimization of CP and OM
Modeling
Evaluation
Joint
Operational
Management
(OM)
Capacity Planning
(CP)

## Slide 6
Capacity Planning (CP)
Operational Management (OM)
Traditionally, they are separate
servers
Power sources
cooling
electricity bills
maintenance
fuel
This results in significant inefficiencies
Ex: provision based on peak in CP,
but peak can be shaped in OM
Notes: Emphasize that Capacity Planning and Operational Management are separate
Highlight that staff salary is small
What is the drawback?

## Slide 7
Proposed Optimization Framework
Capacity Planning (CP)
Operational
Management
(OM)
Capacities, …
Batch job scheduling, …
Notes: Proposed Framework

## Slide 8: Joint Optimization Framework
minimize
Utility bills (UtilBill)
Renewable Generation Expense (RGEx)
Non-renewable Generation Expense (NGEx)
IT expense (ITEx)
Infrastructure cost
+ O&M cost
Infrastructure cost
+ Fuel cost
+ O&M cost
Infrastructure cost
+ O&M cost
Purchase
– sellback
UtilBill
+ RGEx
+ NGEx
+ ITEx
Notes: Utility bills

## Slide 9: Modeling power demand at time year
: power for job
interactive workloads
batch jobs
IT power:
idle power
power demand:
: power for workload
starting time  ending time
used to schedule batch jobs

## Slide 10: Modeling power supply at time year
renewable generators
where CF is capacity factor.
: capacity of generator
non-renewable generators
: Capacity of generator
Electricity grid
grid power
sell-back power
power supply:
power supply power demand

## Slide 11: How the framework operates?
Inputs (forecasted)
Workload traces
Electricity prices
Infrastructure costs
O&M costs
Capacites
Renewable generation
non-renewable generation
IT power demand
Operational outputs
non-renewable generation
Grid power usage
Sell-back power
Power allocated to IT workloads
Joint
Optimization
Framework
Notes: Optimization problem

## Slide 12: Joint Optimization problem
This is a convex optimization problem.

## Slide 13: Goal: Reduce data center costs
Approach: Joint Optimization Framework
Modeling
Evaluation
Joint
Operational
Management
(OM)
Capacity Planning
(CP)

## Slide 14
HP EcoPODs 240a
Simulation based on 1MW HP EcoPod Data Center
www.hp.com

## Slide 15: Power Demand
Peak power usage: 720kW
Peak-to-Mean ratio: 3
PUE: 1.2
SAP CPU power usage trace
Interactive workload: 50%
Utilization of server: 40%
Batch jobs: 50%
Flexibility 24 hours
Maximum utilization is 90%
We do not include capacity planning for IT equipment
Notes: We do not include capacity planning for IT equipment

## Slide 16
Power Supply
Houston PV generation
Amortized cost: $2.15/W a year
O&M cost: $0 + $0.005/kWh
Capacity factor: ~18%
Emission rate: 0.034g/kWh
PV generation
General Electric (GE)
Natural Gas generation
Amortized cost: $1/W a year
O&M cost: 0.06+$0.005/kWh
Emission rate: 0.443g/kWh
Electricity grid
Prices: $0.056/kWh
Emission rate: 0.5g/kWh
Compare!

## Slide 17: Comparisons with Baseline methods
Grid Only (GRID) in traditional data centers Only provision power from the electricity grid
Demand-only Optimization (DEM) Optimize power demand based on given the capacity planning
Supply-only Optimization (SUP) Optimize power sources based on given demand
Proposed framework PROP = SUP + DEM

## Slide 18
Question: How much can we improve?
GRID: Grid only
DEM: Demand-only optimization
SUP: Supply-only optimization
PROP: Proposed framework
I: Infrastructure
O: Operational
Util: Utility bill
Cost: PROP = 50 % GRID
Emissions: PROP = 25 % GRID
Notes: Grid: Grid only
Dem: Demand-only optimization
Sup: Supply-only optimization
Prop: Proposed framework

## Slide 19: Costs and Emissions under Prediction Errors
Expenditures vs. prediction errors
Emissions vs. prediction errors
PROP significantly outperforms GRID under large prediction errors
49%
58%
Notes: PROP significantly outperforms GRID under large prediction errors
58%

## Slide 20: Goal: Reduce data center costs with demand response
Approach: Joint Optimization of CP and OM
Modeling
Evaluation
Joint
Operational
Management
(OM)
Capacity Planning
(CP)

## Slide 21: Extending Joint Optimization Framework for DCDR
minimize
Utility bills (UtilBill)
RG Expense (RGEx)
NG Expense (NGEx)
IT expense (ITEx)
Infrastructure cost
+ O&M cost
Infrastructure cost
+ Fuel cost
+ O&M cost
Infrastructure cost
+ O&M cost
Purchase
– sellback
UtilBill
+ RGEx
+ NGEx
+ ITEx
- DR reward
+ DR penalty
Notes: Utility bills

## Slide 22: Operation of Framework in DR programs
$0.05 (night), $0.219 (peak), $0.06 (off) /kWh
Without DR programs
Time of Use (ToU)
Base price: $0.056/kWh
SR rate: $0.02/kWh
Spinning Reserve (SR)
Notes: Without DR programs

## Slide 23: How DR impacts on data centers?
Little change on total costs
Some DR programs result in low emissions
IBR: Inclining Block Rates
WS: Wholesale market
CPP: Critical Coincident Peak Pricing
CPP rate: $11.2/kWh
$0.2 (<50kW), $0.5 (<100kW)
$0.05/kWh
Notes: IBR: Inclining Block Rates

## Slide 24
Cost saving 50%
Emission reduction 75%
Joint Capacity Planning and Operational Management
Well adapting to
Thank you
Notes: Thank you

## Slide 26: Backup slides

## Slide 30
Impacts on
Net-zero energy data centers
Notes: Total local supply >= total demand in long-run

## Slide 31
Notes: the data center starts to use more GE to provide power during night and given the increased GE capacity, more GE generation is used during day time to replace PV.

## Slide 32
Notes: Especially, there is the sharp increase of PV capacity when the gas price is more than $0.06$.
Due to the non-dispatchability of solar energy, the data center needs the large capacity of PV generation to compensate the reduction of GE generation.

## Slide 34
$0.05 (night), $0.219 (peak), $0.06 (off) /kWh
CPP rate: $11.2/kWh
$0.2 (<50kW), $0.5 (<100kW)
Without DR programs
Time of Use (ToU)
Critical Peak Pricing (CPP)
IBR
Base price: $0.056/kWh
SR rate: $0.02/kWh
Spinning Reserve (SR)
$0.05/kWh
Wholesale (WS) market
Notes: Without DR programs